## Cover page
Doc. nr.: |  | PROJECT | [6 empty] | Project number
Purchase order
Requisition
DATASHEET RTD TEMPERATURE TRANSMITTER
|  |  | DATE | REV | BY | CHK | APP | SUBJECT OF REVISION
| http://users.telenet.be/instrumentatie/download/rtd-temperature-transmitter-datasheet-template.html | [7 empty] | Template version: 0 | Page 1 of 3

## Datasheet page2
Doc. nr.: | [5 empty] | PROJECT |  |  |  |  | Project number
Purchase order
Requisition
| AMBIENT CONDITIONS | [6 empty] | ENCLOSURE
| 1 |  |  |  | Units |  |  | 60 | Enclosure material
| 2 | Ambient temperature |  | unit |  | Min. | Max. | 61 | Protective coating
| 3 | Humidity range |  | unit |  |  |  | 62 | Ingress protection
| 4 | Altitude |  | unit |  |  |  | 63 | Cable gland entry
| 5 | Corrosivity cat. (ISO 12944-2) | [5 empty] | 64
| 6 | Hazardous area classification | [5 empty] | 65
| 7 | Minimum protection type | [5 empty] | 66
| 8 | [6 empty] | 67
| SENSOR ELEMENT | [6 empty] | TRANSMITTER
| 9 | Element type | [5 empty] | 68 | Measuring range | unit
| 10 | Design standard | [5 empty] | 69 | Repeatability
| 11 | Element operating limit |  | unit |  | Min. | Max. | 70 | Long term stability
| 12 | Number of sensors | [5 empty] | 71 | Power supply | unit |  | Min. | Max.
| 13 | Wire configuration | [5 empty] | 72 | Output signal / communication
| 14 | Sheath material | [5 empty] | 73 | Failure alarm output
| 15 | Process / thermowell connection | [5 empty] | 74 | Specific linearisation
| 16 | [6 empty] | 75 | Hazardous area class. + protect.
| 17 | [6 empty] | 76
| ACCESSORIES | [6 empty] | 77
| 18 | Thermowell | [5 empty] | 78
| 19 | Mounting bracket | [5 empty] | 79
| 20 | [6 empty] | 80
| 21 | [6 empty] | 81
| 22 | [6 empty] | 82
| 23 | [6 empty] | 83
| 24 | [6 empty] | 84
| 25 | [6 empty] | 85
| 26 | [6 empty] | 86
| 27 | [6 empty] | 87
| 28 | [6 empty] | 88
| 29 | [6 empty] | 89
| 30 | [6 empty] | 90
| 31 | [6 empty] | 91
| 32 | [6 empty] | 92
| 33 | [6 empty] | 93
| 34 | [6 empty] | 94
| 35 | [6 empty] | 95
| 36 | [6 empty] | 96
| 37 | [6 empty] | 97
| 38 | [6 empty] | 98
| NOTES | [6 empty] | 99
| 39 | [6 empty] | 100
| 40 | [6 empty] | 101
| 41 | [6 empty] | 102
| 42 | [6 empty] | 103
| 43 | [6 empty] | 104
| 44 | [6 empty] | 105
| 45 | [6 empty] | 106
| 46 | [6 empty] | 107
| 47 | [6 empty] | SUPPLIER INFORMATION
| 48 | [6 empty] | 108 | Vendor
| 49 | [6 empty] | 109 | Manufacturer
| 50 | [6 empty] | 110 | Vendor stamp
| 51 | [6 empty] | 111
| 52 | [6 empty] | 112
| 53 | [6 empty] | 113
| 54 | [6 empty] | 114
| REFERENCE DOCUMENTS/APPLICABLE SPECIFICATIONS | [6 empty] | RELIABILITY DATA
| 55 | Number | Rev |  | Title |  |  | 115 | Fail safe detected (FIT)
| 56 | [6 empty] | 116 | Fail safe undetected (FIT)
| 57 | [6 empty] | 117 | Fail dangerous detected (FIT)
| 58 | [6 empty] | 118 | Fail dangerous undetected (FIT)
| 59 | [6 empty] | 119 | Safe failure fraction (SFF) (%)
| http://users.telenet.be/instrumentatie/download/rtd-temperature-transmitter-datasheet-template.html | [9 empty] | Template version: 0 |  |  | Page 2 of 3
Note on Q9: Corrosivity selector Exterior : C1 : Not applicable C2 : Atmospheres with low level of pollution. Mostly rural areas. C3 : Urban and industrial atmospheres, moderate SO2 pollution. Coastal areas with low salinity. C4 : Industrial areas and coastal areas with moderate salinity. C5-I : Industrial areas with high humidity and aggressive atmosphere. C5-M : Coastal and offshore areas with high salinity. Interior : C1 : Heated buildings with clean atmospheres, e.g. offices, shops, schools, hotels, ... C2 : Unheated buildings where condensation may occur, e.g. depots, sports halls, ... C3 : Production rooms with high humidity and some air pollution, e.g. food-processing plants, laundries, breweries, dairies, ... C4 : Chemical plants, swimming pools, coastal ship- and boatyards, ... C5-I : Buildings or areas with almost permanent condensation and with high pollution. C5-M : Buildings or areas with almost permanent condensation and with high pollution.
Note on Q24: Thermowell selector Thermowells are recommended for pressure, corosive fluid, abrasive and high velocity applications. Thermowells also make it possible to remove the thermometer without disturbing the process.

## Datasheet page 3
Doc. nr.: |  |  |  | PROJECT | [8 empty] | Project number
Purchase order
Requisition
| Pos. | TAG N° | Process fluid | Element |  |  | Tolerance |  |  | Mounting | Options | Approvals |  | Temperature transmitter model
|  |  |  | Outside | Insertion | Shielded |  | Calibrated | Ref. Acc.
|  |  |  | Diameter | length | length |  | span | % of span
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
| 27 | Options |  |  |  |  | Approvals
| 28 | A. Integral indicator |  |  |  |  | A. Calibration certificate
| 29 | B. NAMUR high alarm fail |  |  |  |  | B. Seal surface finish certificate
| 30 | C. NAMUR low alarm fail |  |  |  |  | C. Material certificate per EN 10204 3.1
| 31 | D. Transient protection |  |  |  |  | D. Hydrostatic test certificate
| 32 | E. Wired TAG-plate |  |  |  |  | E. NACE MR0175 / ISO 15156 certificate
| 33 | [5 empty] | F. EC Declaration of conformity
| 34 | [5 empty] | G. ATEX certificate
| 35 | [5 empty] | H. SIL1 certificate
| 36 | [5 empty] | I. SIL2 certificate
37
38
39
40
| http://users.telenet.be/instrumentatie/download/rtd-temperature-transmitter-datasheet-template.html | [11 empty] | Template version: 0 |  | Page 3 of 3

## Drop-down lists (hidden)
Fluid state | Element type | Element implementation | Design standard | Tolerance | Number of sensors | Wire configuration | Diameter
Solid | Pt100 | wire-wound | IEC 60571 | Class AA | Single | 2-wire | 1 mm
Liquid | Pt1000 | thin-film | DIN 43760 | Class A | Dual | 3-wire | 6 mm
Gas |  | coiled | BS 1904 | Class B |  | 4-wire | 8 mm
Biphasic liquid/gas |  |  |  | Class C |  |  | 10 mm
Cl.1/2 DIN
Cl.1/3 DIN
Cl.1/10 DIN
Insertion length | Sheath material | Connection | Mounting | Long term stability | Stability period | Output signal | Failure alarm
150 mm | Stainless steel | 1/2"NPTm 6mm sliding coupling | Direct | 0,15% of span | for 1 year | 4 - 20 mA | Configurable
230 mm |  | 1/2"NPTm 8mm sliding coupling | Remote |  | for 2 years | 4 - 20 mA HART 5 | Non-configurable
330 mm |  | 1/2"NPTm 10mm sliding coupling |  |  | for 5 years | 4 - 20 mA HART 7
[5 empty] | for 7 years | FOUNDATION fieldbus
[5 empty] | for 10 years | PROFIBUS PA
Wireless
Low power 1 - 5 Vdc HART
Failure alarm output | Linearisation | Enclosure material | Protective coating | Ingress protection | Cable gland entry | Humidity | Corrosivity
High | Callendar - Van Dusen | Aluminum | Polyurethane | IP43 | 1/2-14 NPT | condensing | C1 (very low)
Low |  | Stainless steel |  | IP53 | M20 x 1.5 | noncondensing | C2 (low)
|  | Polymer |  | IP54 | G 1/2 |  | C3 (medium)
|  |  |  | IP55 |  |  | C4 (high)
|  |  |  | IP56 |  |  | C5-I (industrial)
|  |  |  | IP65 |  |  | C5-M (marine)
IP66
IP67
IP68
NEMA 3
NEMA 4X
Thermowell | Mounting bracket | Other options | Approvals | Options
Out of scope | 2" pipe mounting | N/A | A | A
See document … | Wall mounting | Integral indicator | B | B
| Panel mounting | Transient protection | C | C
|  | NAMUR high alarm fail mode | D | D
|  | NAMUR low alarm fail mode | E | E
|  | Wired TAG plate | F
G
H
I