## Cover page
Doc. nr.: |  | PROJECT | [6 empty] | Project number
Purchase order
Requisition
DATASHEET RTD TEMPERATURE TRANSMITTER
|  |  | DATE | REV | BY | CHK | APP | SUBJECT OF REVISION
| http://users.telenet.be/instrumentatie/download/rtd-temperature-transmitter-datasheet-template.html | [7 empty] | Template version: 0 | Page 1 of 3

## Datasheet page 2
Doc. nr.: |  |  |  |  | PROJECT | [8 empty] | Project number
Purchase order
Requisition
TAG number
Service
GENERAL
| 1 | PID number
| 2 | Line or equipment number
| 3 | Hook-up drawing number
| 4 | Location
| 5 | Hazardous area classification
6
7
PROCESS CONDITIONS
| 8 |  |  | Units | Min. | Operat. |  | Max. | Min. | Operat. |  | Max. |  |  | Min. | Operat. |  |  | Max.
| 9 | Operating pressure | unit
| 10 | Design pressure | unit
| 11 | Operating temperature | unit
| 12 | Design temperature | unit
| 13 | Fluid name
| 14 | Fluid state
| 15 | Corrosive compounds
16
17
AMBIENT CONDITIONS
| 18 |  |  | Units
| 19 | Ambient temperature | unit |  | Min. |  | Max. |  | Min. |  | Max. |  |  |  | Min. |  | Max.
| 20 | Humidity range | unit
| 21 | Altitude | unit
| 22 | Corrosivity cat. (ISO 12944-2)
23
24
SENSOR ELEMENT
| 25 | Element type
| 26 | Design standard / Tolerance
| 27 | Element operating limit | unit |  | Min. |  | Max. |  | Min. |  | Max. |  |  |  | Min. |  | Max.
| 28 | Number of sensors
| 29 | Wire configuration
| 30 | Element outside diameter
| 31 | Insertion length
| 32 | Shielded length
| 33 | Sheath material
| 34 | Process / thermowell connection
35
36
TRANSMITTER
| 37 | Mounting
| 38 | Measuring range | unit
| 39 | Calibrated span | unit
| 40 | Reference accuracy (% of span)
| 41 | Repeatability
| 42 | Long term stability
| 43 | Power supply | unit |  | Min. |  | Max. |  | Min. |  | Max. |  |  |  | Min. |  | Max.
| 44 | Output signal / communication
| 45 | Failure alarm output
| 46 | Specific linearisation
| 47 | Hazardous area class. + protect.
48
49
50
51
52
53
54
| http://users.telenet.be/instrumentatie/download/rtd-temperature-transmitter-datasheet-template.html | [11 empty] | Template version: 0 |  |  |  |  | Page 2 of 3
Note on Q34: Corrosivity selector Exterior : C1 : Not applicable C2 : Atmospheres with low level of pollution. Mostly rural areas. C3 : Urban and industrial atmospheres, moderate SO2 pollution. Coastal areas with low salinity. C4 : Industrial areas and coastal areas with moderate salinity. C5-I : Industrial areas with high humidity and aggressive atmosphere. C5-M : Coastal and offshore areas with high salinity. Interior : C1 : Heated buildings with clean atmospheres, e.g. offices, shops, schools, hotels, ... C2 : Unheated buildings where condensation may occur, e.g. depots, sports halls, ... C3 : Production rooms with high humidity and some air pollution, e.g. food-processing plants, laundries, breweries, dairies, ... C4 : Chemical plants, swimming pools, coastal ship- and boatyards, ... C5-I : Buildings or areas with almost permanent condensation and with high pollution. C5-M : Buildings or areas with almost permanent condensation and with high pollution.
Note on AF34: Corrosivity selector Exterior : C1 : Not applicable C2 : Atmospheres with low level of pollution. Mostly rural areas. C3 : Urban and industrial atmospheres, moderate SO2 pollution. Coastal areas with low salinity. C4 : Industrial areas and coastal areas with moderate salinity. C5-I : Industrial areas with high humidity and aggressive atmosphere. C5-M : Coastal and offshore areas with high salinity. Interior : C1 : Heated buildings with clean atmospheres, e.g. offices, shops, schools, hotels, ... C2 : Unheated buildings where condensation may occur, e.g. depots, sports halls, ... C3 : Production rooms with high humidity and some air pollution, e.g. food-processing plants, laundries, breweries, dairies, ... C4 : Chemical plants, swimming pools, coastal ship- and boatyards, ... C5-I : Buildings or areas with almost permanent condensation and with high pollution. C5-M : Buildings or areas with almost permanent condensation and with high pollution.
Note on AU34: Corrosivity selector Exterior : C1 : Not applicable C2 : Atmospheres with low level of pollution. Mostly rural areas. C3 : Urban and industrial atmospheres, moderate SO2 pollution. Coastal areas with low salinity. C4 : Industrial areas and coastal areas with moderate salinity. C5-I : Industrial areas with high humidity and aggressive atmosphere. C5-M : Coastal and offshore areas with high salinity. Interior : C1 : Heated buildings with clean atmospheres, e.g. offices, shops, schools, hotels, ... C2 : Unheated buildings where condensation may occur, e.g. depots, sports halls, ... C3 : Production rooms with high humidity and some air pollution, e.g. food-processing plants, laundries, breweries, dairies, ... C4 : Chemical plants, swimming pools, coastal ship- and boatyards, ... C5-I : Buildings or areas with almost permanent condensation and with high pollution. C5-M : Buildings or areas with almost permanent condensation and with high pollution.

## Datasheet page 3
Doc. nr.: |  |  |  |  | PROJECT |  |  | Project number
Purchase order
Requisition
TAG number
Service
ENCLOSURE
| 1 | Enclosure material
| 2 | Protective coating
| 3 | Ingress protection
| 4 | Cable gland entry
5
6
ACCESSORIES
| 7 | Thermowell
| 8 | Mounting bracket
| 9 | Other options
10
11
12
13
| 14 | Approvals
15
16
17
18
19
SUPPLIER'S REFERENCE
| 20 | Temperature transmitter model
21
22
NOTES
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
| REFERENCE DOCUMENTS/APPLICABLE SPECIFICATIONS |  |  |  |  | RELIABILITY DATA
| 40 | Number | Rev | Title |  | Fail safe detected (FIT)
| 41 |  |  |  |  | Fail safe undetected (FIT)
| 42 |  |  |  |  | Fail dangerous detected (FIT)
| 43 |  |  |  |  | Fail dangerous undetected (FIT)
| 44 |  |  |  |  | Safe failure fraction (SFF) (%)
45
| 46 |  |  |  |  | SUPPLIER INFORMATION
| 47 |  |  |  |  | Vendor
| 48 |  |  |  |  | Manufacturer
| 49 |  |  |  |  | Vendor stamp
50
51
52
53
54
| http://users.telenet.be/instrumentatie/download/rtd-temperature-transmitter-datasheet-template.html | [5 empty] | Template version: 0 |  | Page 3 of 3
Note on Q18: Thermowell selector Thermowells are recommended for pressure, corosive fluid, abrasive and high velocity applications. Thermowells also make it possible to remove the thermometer without disturbing the process.
Note on AF18: Thermowell selector Thermowells are recommended for pressure, corosive fluid, abrasive and high velocity applications. Thermowells also make it possible to remove the thermometer without disturbing the process.
Note on AU18: Thermowell selector Thermowells are recommended for pressure, corosive fluid, abrasive and high velocity applications. Thermowells also make it possible to remove the thermometer without disturbing the process.

## Drop-down lists (hidden)
Fluid state | Element type | Element implementation | Design standard | Tolerance | Number of sensors | Wire configuration | Diameter
Solid | Pt100 | wire-wound | IEC 60571 | Class AA | Single | 2-wire | 1 mm
Liquid | Pt1000 | thin-film | DIN 43760 | Class A | Dual | 3-wire | 6 mm
Gas |  | coiled | BS 1904 | Class B |  | 4-wire | 8 mm
Biphasic liquid/gas |  |  |  | Class C |  |  | 10 mm
Cl.1/2 DIN
Cl.1/3 DIN
Cl.1/10 DIN
Insertion length | Sheath material | Connection | Mounting | Long term stability | Stability period | Output signal | Failure alarm
150 mm | Stainless steel | 1/2"NPTm 6mm sliding coupling | Direct mounting | 0,15% of span | for 1 year | 4 - 20 mA | Configurable
230 mm |  | 1/2"NPTm 8mm sliding coupling | Remote mounting |  | for 2 years | 4 - 20 mA HART 5 | Non-configurable
330 mm |  | 1/2"NPTm 10mm sliding coupling |  |  | for 5 years | 4 - 20 mA HART 7
[5 empty] | for 7 years | FOUNDATION fieldbus
[5 empty] | for 10 years | PROFIBUS PA
Wireless
Low power 1 - 5 Vdc HART
Failure alarm output | Linearisation | Enclosure material | Protective coating | Ingress protection | Cable gland entry | Humidity | Corrosivity
High | Callendar - Van Dusen | Aluminum | Polyurethane | IP43 | 1/2-14 NPT | condensing | C1 (very low)
Low |  | Stainless steel |  | IP53 | M20 x 1.5 | noncondensing | C2 (low)
|  | Polymer |  | IP54 | G 1/2 |  | C3 (medium)
|  |  |  | IP55 |  |  | C4 (high)
|  |  |  | IP56 |  |  | C5-I (industrial)
|  |  |  | IP65 |  |  | C5-M (marine)
IP66
IP67
IP68
NEMA 3
NEMA 4X
Thermowell | Mounting bracket | Other options | Approvals
Out of scope | 2" pipe mounting | N/A | N/A
See document … | Wall mounting | Integral indicator | Calibration certificate
| Panel mounting | Transient protection | Seal surface finish certificate
|  | NAMUR high alarm fail mode | Material cert. per EN 10204 3.1
|  | NAMUR low alarm fail mode | Hydrostatic test certificate
|  | Wired TAG plate | NACE MR0175/ISO 15156 cert.
EC Declaration of conformity
ATEX certificate
SIL1 certificate
SIL2 certificate