## Cover page
Doc. nr.: |  | PROJECT | [6 empty] | Project number
Purchase order
Requisition
DATASHEET MECHANICAL PRESSURE SWITCH
|  |  | DATE | REV | BY | CHK | APP | SUBJECT OF REVISION
| http://users.telenet.be/instrumentatie/download/mechanical-pressure-switch-datasheet-template.html | [7 empty] | Template version: 0 | Page 1 of 3

## Datasheet page 2
Doc. nr.: | [5 empty] | PROJECT | [7 empty] | Project number
Purchase order
Requisition
| AMBIENT CONDITIONS | [6 empty] | ACCESSORIES (only if requested on next page)
| 1 |  |  |  | Units |  |  | 59 | Manifold type |  | Manifold mat.
| 2 | Ambient temperature |  | unit |  | Min. | Max. | 60 | Manifold instrument connection
| 3 | Humidity range |  | unit |  |  |  | 61 | Manifold process connection
| 4 | Altitude |  | unit |  |  |  | 62
| 5 | Corrosivity cat. (ISO 12944-2) | [5 empty] | 63
| 6 | Hazardous area classification | [5 empty] | 64
| 7 | Minimum protection type | [5 empty] | 65
| 8 | [6 empty] | 66
| 9 | [6 empty] | 67
| SENSOR ELEMENT | [6 empty] | CHEMICAL SEAL (only if requested on next page)
| 10 | Element type | [5 empty] | 68 | L- press. side | Seal type
| 11 | Type of pressure | [5 empty] | 69 |  | Seal mounting
| 12 | Element material | [5 empty] | 70 |  | Diaphragm exten. length
| 13 | Process/chem. seal connect. mat. | [5 empty] | 71 |  | Seal wetted parts mat.
| 14 | [6 empty] | 72 |  | Seal model number
| 15 | [6 empty] | 73 | H- press. side | Seal type
| SWITCH | [6 empty] | 74 |  | Seal mounting
| 16 | Switch contact | [5 empty] | 75 |  | Diaphragm exten. length
| 17 | Contact version | [5 empty] | 76 |  | Seal wetted parts mat.
| 18 | Rating (resistive load) | [5 empty] | 77 |  | Seal model number
| 19 | Terminals maximum wire size | [5 empty] | 78 | Seal upper mat. |  |  | Flange mat.
| 20 | [6 empty] | 79 | Capillary length |  |  |  | unit |  | L-side | H-side
| 21 | [6 empty] | 80 | Capillary internal diameter
| ENCLOSURE | [6 empty] | 81 | Capillary material
| 22 | Enclosure material | [5 empty] | 82 | Capillary armor material
| 23 | Ingress protection | [5 empty] | 83 | Capillary fill fluid
| 24 | Hazardous area class. + protect. | [5 empty] | 84
| 25 | Cable gland entry | [5 empty] | 85
| 26 | [6 empty] | 86
| 27 | [6 empty] | 87
| 28 | [6 empty] | 88
| 29 | [6 empty] | 89
| 30 | [6 empty] | 90
| 31 | [6 empty] | 91
| 32 | [6 empty] | 92
| 33 | [6 empty] | 93
| 34 | [6 empty] | 94
| 35 | [6 empty] | 95
| 36 | [6 empty] | 96
| 37 | [6 empty] | 97
| 38 | [6 empty] | 98
| 39 | [6 empty] | 99
| 40 | [6 empty] | 100
| 41 | [6 empty] | 101
| NOTES | [6 empty] | 102
| 42 | [6 empty] | 103
| 43 | [6 empty] | 104
| 44 | [6 empty] | 105
| 45 | [6 empty] | 106
| 46 | [6 empty] | SUPPLIER INFORMATION
| 47 | [6 empty] | 107 | Vendor
| 48 | [6 empty] | 108 | Manufacturer
| 49 | [6 empty] | 109 | Vendor stamp
| 50 | [6 empty] | 110
| 51 | [6 empty] | 111
| 52 | [6 empty] | 112
| 53 | [6 empty] | 113
| REFERENCE DOCUMENTS/APPLICABLE SPECIFICATIONS | [6 empty] | RELIABILITY DATA
| 54 | Number | Rev |  | Title |  |  | 114 | Fail safe detected (FIT)
| 55 | [6 empty] | 115 | Fail safe undetected (FIT)
| 56 | [6 empty] | 116 | Fail dangerous detected (FIT)
| 57 | [6 empty] | 117 | Fail dangerous undetected (FIT)
| 58 | [6 empty] | 118 | Safe failure fraction (SFF) (%)
| http://users.telenet.be/instrumentatie/download/mechanical-pressure-switch-datasheet-template.html | [12 empty] | Template version: 0 |  |  | Page 2 of 3
Note on Q9: Corrosivity selector Exterior : C1 : Not applicable C2 : Atmospheres with low level of pollution. Mostly rural areas. C3 : Urban and industrial atmospheres, moderate SO2 pollution. Coastal areas with low salinity. C4 : Industrial areas and coastal areas with moderate salinity. C5-I : Industrial areas with high humidity and aggressive atmosphere. C5-M : Coastal and offshore areas with high salinity. Interior : C1 : Heated buildings with clean atmospheres, e.g. offices, shops, schools, hotels, ... C2 : Unheated buildings where condensation may occur, e.g. depots, sports halls, ... C3 : Production rooms with high humidity and some air pollution, e.g. food-processing plants, laundries, breweries, dairies, ... C4 : Chemical plants, swimming pools, coastal ship- and boatyards, ... C5-I : Buildings or areas with almost permanent condensation and with high pollution. C5-M : Buildings or areas with almost permanent condensation and with high pollution.

## Datasheet page 3
Doc. nr.: |  |  |  | PROJECT | [9 empty] | Project number
Purchase order
Requisition
| Pos. | TAG N° | Process fluid | Range |  | Dead band size | [6 empty] | Options |  | Approvals | Pressure switch model
[5 empty] | Dead band |  | Process | Number of | Switch 1 |  | Switch 2
[7 empty] | Connection | switches | Setpoint | Direction | Setpoint | Direction
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
| 27 | Options |  |  |  | Approvals
| 28 | A. Cleaned for oxygen service |  |  |  | A. EC Declaration of conformity
| 29 | B. Factory adjusted setpoint(s) |  |  |  | B. ATEX certificate
| 30 | C. Chemical seal |  |  |  | C. PED certificate
| 31 | D. Manifold |  |  |  | D. SIL2 certificate
| 32 | E1. Mounting directly on process |  |  |  | E. NACE MR0175 / ISO 15156 certificate
| 33 | E2. Mounting bracket for wall mounting |  |  |  | F. Material certificate per EN 10204 3.1 (sensor element)
| 34 | E3. Mounting bracket for 2" pipe |  |  |  | G. Material certificate per EN 10204 3.1 (chemical seal)
35
36
37
38
39
40
| http://users.telenet.be/instrumentatie/download/mechanical-pressure-switch-datasheet-template.html | [13 empty] | Template version: 0 |  | Page 3 of 3
Note on I7: Process connection selector Threaded : - G1/8" or G1/4" or G1/2" (parallel) - R1/8" or R1/4" or R1/2" (tapered) - M5 - 1/8" NPTf or 1/8" NPTm (tapered) - 1/4" NPTf or 1/4" NPTm (tapered) - 1/2" NPTf or 1/2" NPTm (tapered) Flanged : - 1" CL150 RF - 2" CL150 RF Clamped : - 1 1/2" or 2" per DIN 32676 - DN32 or DN40 per DIN 32676 - DN40 or DN50 per DIN 32676 - DN38 or DN40 or DN51 per ISO 2852 - DN40 or DN50 per DIN 11851 - DN40 or DN50 per DIN 11864-1 form A - DN42.4 or DN48.3 per DIN 11864-1 form A - 1 1/2" or 2" per DIN 11864-1 form A - DN40 or DN50 per DIN 11864-2 form A - DN42.4 or DN48.3 per DIN 11864-2 form A - 1 1/2" or 2" per DIN 11864-2 form A - DN40 or DN50 per DIN 11864-3 form A - DN42.4 or DN48.3 per DIN 11864-3 form A - 1 1/2" or 2" per DIN 11864-3 form A - VARIVENT form F or form N - NEUMO BioControl size 50 or size 65 Saddle : - for piping size 2 1/2" or 3" or 4" or 5" or 6" or 8" or 10" or 12" or 14"

## Drop-down lists (hidden)
Humidity | Corrosivity category | Element type | Type of pressure | Element material | Process connection material | Switch contact | Contact version
Condensing | C1 (very low) | Bellows | Absolute pressure | NBR (Buna-N, Perbunan) | Brass | SPDT | Standard
Noncondensing | C2 (low) | Bourdon tube | Relative pressure | Ethylene-Propylene | SS 316L | SPDT silver-plated | Explosion proof
| C3 (medium) | Diaphragm | Differential pressure | EPDM |  | SPDT gold-plated | Narrow dead band
| C4 (high) | Double diaphragm |  | PTFE |  | DPDT | Expl. proof, narrow dead band
| C5-I (industrial) | Piston |  | Viton |  | DPDT silver-plated | Hermetically sealed
| C5-M (marine) | Piston + diaphragm |  | Bronze |  | DPDT gold-plated | Sealed, standard
|  |  |  | SS 304 |  |  | Sealed, narrow dead band
|  |  |  | SS 316L |  |  | Sealed, environment proof
|  |  |  | SS 316T |  |  | Heavy duty ac
|  |  |  | SS 316 + PTFE |  |  | Heavy duty dc
|  |  |  | SS 17 - 4 PH |  |  | Manual reset trip on rising
|  |  |  | Monel |  |  | Manual reset trip on falling
|  |  |  | Inconel |  |  | Ammonia service
|  |  |  | Hastelloy C |  |  | High temperature
Terminals maximum wire size | Enclosure material | Ingress protection | Cable gland entry | Manifold type | Manifold material | Manifold instrument connect. | Manifold process connection
1,5 mm² | Aluminum polyurethane coated | IP43 | M16 x 1,5 | N/A | N/A | N/A | N/A
2,5 mm² | Stainless steel | IP53 | M20 x 1,5 | One-way | SS | 1/2" NPT F | 1/2" NPT F
AWG 12 | Polymer | IP54 | 3/4" NPT | Three-way | Copper alloy | 1/2" NPT M | 1/2" NPT M
AWG 14 |  | IP55 |  | Four-way |  | 2 x G 1/4 B male nut | 2 x G 1/4 female
|  | IP56 |  | Five-way |  | 2 x G 1/2 B male nut | 2 x G 1/2 B male
|  | IP65 |  |  |  | 2 x G 1/2 B union nut | 2 x 1/2 NPT male
|  | IP66 |  |  |  | 2 x tube adapters 6mm | 2 x M20 X 1.5 male
IP67
IP68
NEMA 3
NEMA 4X
Seal type | Seal mounting 1 | Seal mounting 2 | Diaphragm extension length | Seal wetted parts material | Seal upper material | Seal flange material | Capillary internal diameter
N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Diaphragm screwed | Direct | Flush | 50 mm | SS 316L | SS 316L | Carbon steel | 0,7 mm
Diaphragm flanged | Remote | Non-flush | 100 mm | SS 316L lined with HALAR | Brass | SS 304 | 1,1 mm
Diaphragm + extended flange |  | Tongue | 150 mm | Hastelloy B2 | Polypropylene | SS 316 | 1,9 mm
Flanged + extended diaphragm |  | In pipe |  | Hastelloy C-276 | PVC | Hastelloy C-276 | 0,03 inch
Diaphragm cell type |  |  |  | Hastelloy C4 | PVDF | Monel | 0,04 inch
Diaphragm clamped |  |  |  | Monel 400 |  |  | 0,075 inch
Diaphragm in-line |  |  |  | Tantalum
Titanium
Uranus B6
Gold-plated Monel 400
Gold-plated SS 316
Silver
EPDM lined with PTFE
Capillary material | Capillary armor material | Capillary fill fluid | Dead band | Process connection | Number of switches | Direction | Options
N/A | N/A | N/A | Fixed | G 1/4" M | 1 | Falling | A
SS 316L | Stainless steel | Silicone 200 | Adjustable | G 1/4" F | 2 (simultan.) | Rising | B
Hastelloy C-276 | Stainless steel + PVC coating | Silicone 200 for vacuum |  | G 1/2" M | 2 (two steps) |  | C
| Reinforced stainless steel | Silicone 704 |  | G 1/2" F |  |  | D
|  | Silicone 704 for vacuum |  | 1/4" NPT M |  |  | E1
|  | Silicone 705 |  | 1/4" NPT F |  |  | E2
|  | Silicone 705 for vacuum |  | 1/2" NPT M |  |  | E3
|  | Syltherm XLT |  | 1/2" NPT F
|  | Inert (Halocarbon |  | M20 x 1,5 M
|  | Glycerin and water |  | Chem. seal
Neobee M-20
Propylene glycol and water
Ultra Therm 805
Ultra Therm 805 for vacuum
Approvals
A
B
C
D
E
F
G