## Cover page
Doc. nr.: |  | PROJECT | [6 empty] | Project number
Purchase order
Requisition
DATASHEET PRESSURE TRANSMITTER
|  |  | DATE | REV | BY | CHK | APP | SUBJECT OF REVISION
| http://users.telenet.be/instrumentatie/download/pressure-transmitter-datasheet-template.html | [7 empty] | Template version: 2 | Page 1 of 3

## Datasheet page 2
Doc. nr.: | [5 empty] | PROJECT | [7 empty] | Project number
Purchase order
Requisition
| AMBIENT CONDITIONS | [6 empty] | ACCESSORIES
| 1 |  |  |  | Units |  |  | 59 | Mounting bracket
| 2 | Ambient temperature |  | unit |  | Min. | Max. | 60 | Manifold type |  | Manifold mat.
| 3 | Humidity range |  | unit |  |  |  | 61 | Manifold instrument connection
| 4 | Altitude |  | unit |  |  |  | 62 | Manifold process connection
| 5 | Corrosivity cat. (ISO 12944-2) | [5 empty] | 63
| 6 | Hazardous area classification | [5 empty] | 64
| 7 | Minimum protection type | [5 empty] | 65
| 8 | [6 empty] | 66
| 9 | [6 empty] | 67
| SENSOR ELEMENT | [6 empty] | CHEMICAL SEAL
| 10 | Element type | [5 empty] | 68 | L- press. side | Seal type
| 11 | Type of pressure | [5 empty] | 69 |  | Seal mounting
| 12 | Operating temperature |  | unit |  | Min. | Max. | 70 |  | Diaphragm exten. length
| 13 | Isolating diaphragm material | [5 empty] | 71 |  | Seal wetted parts mat.
| 14 | Oval flange material | [5 empty] | 72 |  | Seal model number
| 15 | [6 empty] | 73 | H- press. side | Seal type
| 16 | [6 empty] | 74 |  | Seal mounting
| TRANSMITTER | [6 empty] | 75 |  | Diaphragm exten. length
| 17 | Repeatability | [5 empty] | 76 |  | Seal wetted parts mat.
| 18 | Long term stability | [5 empty] | 77 |  | Seal model number
| 19 | Power supply |  | unit |  | Min. | Max. | 78 | Seal upper mat. |  |  | Flange mat.
| 20 | Hazardous area class. + protect. | [5 empty] | 79 | Capillary length |  |  |  | unit |  | L-side | H-side
| 21 | [6 empty] | 80 | Capillary internal diameter
| 22 | [6 empty] | 81 | Capillary material
| ENCLOSURE | [6 empty] | 82 | Capillary armor material
| 23 | Enclosure material | [5 empty] | 83 | Fill fluid
| 24 | Ingress protection | [5 empty] | 84
| 25 | Cable gland entry | [5 empty] | 85
| 26 | [6 empty] | 86
| 27 | [6 empty] | 87
| 28 | [6 empty] | 88
| 29 | [6 empty] | 89
| 30 | [6 empty] | 90
| 31 | [6 empty] | 91
| 32 | [6 empty] | 92
| 33 | [6 empty] | 93
| 34 | [6 empty] | 94
| 35 | [6 empty] | 95
| 36 | [6 empty] | 96
| 37 | [6 empty] | 97
| 38 | [6 empty] | 98
| 39 | [6 empty] | 99
| 40 | [6 empty] | 100
| 41 | [6 empty] | 101
| NOTES | [6 empty] | 102
| 42 | [6 empty] | 103
| 43 | [6 empty] | 104
| 44 | [6 empty] | 105
| 45 | [6 empty] | 106
| 46 | [6 empty] | SUPPLIER INFORMATION
| 47 | [6 empty] | 107 | Vendor
| 48 | [6 empty] | 108 | Manufacturer
| 49 | [6 empty] | 109 | Vendor stamp
| 50 | [6 empty] | 110
| 51 | [6 empty] | 111
| 52 | [6 empty] | 112
| 53 | [6 empty] | 113
| REFERENCE DOCUMENTS/APPLICABLE SPECIFICATIONS | [6 empty] | RELIABILITY DATA
| 54 | Number | Rev |  | Title |  |  | 114 | Fail safe detected (FIT)
| 55 | [6 empty] | 115 | Fail safe undetected (FIT)
| 56 | [6 empty] | 116 | Fail dangerous detected (FIT)
| 57 | [6 empty] | 117 | Fail dangerous undetected (FIT)
| 58 | [6 empty] | 118 | Safe failure fraction (SFF) (%)
| http://users.telenet.be/instrumentatie/download/pressure-transmitter-datasheet-template.html | [12 empty] | Template version: 2 |  |  | Page 2 of 3
Note on Q9: Corrosivity selector Exterior : C1 : Not applicable C2 : Atmospheres with low level of pollution. Mostly rural areas. C3 : Urban and industrial atmospheres, moderate SO2 pollution. Coastal areas with low salinity. C4 : Industrial areas and coastal areas with moderate salinity. C5-I : Industrial areas with high humidity and aggressive atmosphere. C5-M : Coastal and offshore areas with high salinity. Interior : C1 : Heated buildings with clean atmospheres, e.g. offices, shops, schools, hotels, ... C2 : Unheated buildings where condensation may occur, e.g. depots, sports halls, ... C3 : Production rooms with high humidity and some air pollution, e.g. food-processing plants, laundries, breweries, dairies, ... C4 : Chemical plants, swimming pools, coastal ship- and boatyards, ... C5-I : Buildings or areas with almost permanent condensation and with high pollution. C5-M : Buildings or areas with almost permanent condensation and with high pollution.

## Datasheet page 3
Doc. nr.: |  |  |  | PROJECT | [5 empty] | Project number
Purchase order
Requisition
| Pos. | TAG N° | Process fluid | Calibrated span |  | Output signal / communication | Process connection | Options | Approvals |  | Pressure transmitter model
Ref. Acc.
% of span
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
| 27 | Options |  |  |  | Approvals
| 28 | A. Integral indicator |  |  |  | A. Calibration certificate
| 29 | B. NAMUR high alarm fail |  |  |  | B. Seal surface finish certificate
| 30 | C. NAMUR low alarm fail |  |  |  | C. Material certificate per EN 10204 3.1
| 31 | D. Transient protection |  |  |  | D. Hydrostatic test certificate
| 32 | E. Wired TAG-plate |  |  |  | E. NACE MR0175 / ISO 15156 certificate
| 33 |  |  |  |  | F. EC Declaration of conformity
| 34 |  |  |  |  | G. ATEX certificate
| 35 |  |  |  |  | H. SIL1 certificate
| 36 |  |  |  |  | I. SIL2 certificate
37
38
39
40
| http://users.telenet.be/instrumentatie/download/pressure-transmitter-datasheet-template.html | [8 empty] | Template version: 2 |  | Page 3 of 3
Note on I7: Process connection selector Threaded : - G1/8" or G1/4" or G1/2" (parallel) - R1/8" or R1/4" or R1/2" (tapered) - M5 - 1/8" NPTf or 1/8" NPTm (tapered) - 1/4" NPTf or 1/4" NPTm (tapered) - 1/2" NPTf or 1/2" NPTm (tapered) Flanged : - 1" CL150 RF - 2" CL150 RF Clamped : - 1 1/2" or 2" per DIN 32676 - DN32 or DN40 per DIN 32676 - DN40 or DN50 per DIN 32676 - DN38 or DN40 or DN51 per ISO 2852 - DN40 or DN50 per DIN 11851 - DN40 or DN50 per DIN 11864-1 form A - DN42.4 or DN48.3 per DIN 11864-1 form A - 1 1/2" or 2" per DIN 11864-1 form A - DN40 or DN50 per DIN 11864-2 form A - DN42.4 or DN48.3 per DIN 11864-2 form A - 1 1/2" or 2" per DIN 11864-2 form A - DN40 or DN50 per DIN 11864-3 form A - DN42.4 or DN48.3 per DIN 11864-3 form A - 1 1/2" or 2" per DIN 11864-3 form A - VARIVENT form F or form N - NEUMO BioControl size 50 or size 65 Saddle : - for piping size 2 1/2" or 3" or 4" or 5" or 6" or 8" or 10" or 12" or 14"

## Drop-down lists (hidden)
Fluid state | Fluid contains solids | Abrasiveness | Element type | Pressure type | Max. working pressure | Burst pressure | Isolating diaphragm
Solid | YES | Low | Resistive | Absolute pressure | URL | 689,47 barg | SS316L
Liquid | NO | Moderate | Piezo-resistive | Relative pressure | 51,7 barg | 758,42 barg | Alloy C-276
Gas |  | High | Piezo-electric | Differential pressure | 138 barg | 1792,64 barg | Alloy 400
Biphasic liquid/gas |  |  | Capacitive |  | 250 barg | 10000 psig | Tantalum
|  |  | Silicon resonant |  | 310 barg | 11000 psig | Gold plated Alloy 400
[5 empty] | 420 barg | 26000 psig | Gold plated SS
750 psig
2000 psig
3626 psig
4500 psig
6092 psig
Oval flange | Long term stability | Output signal | Mounting bracket | Manifold type | Manifold material | Manifold instrument connection | Manifold process connection
Stainless steel | 1 year | 4 - 20 mA | 2" pipe mounting | N/A | N/A | 1/4-18 NPTf | 1/4-18 NPTf
Cast C-276 | 2 years | 4 - 20 mA HART 5 | Wall mounting | One-way | SS 316 | 1/2-14 NPTf | 1/2-14 NPTf
Cast Alloy 400 | 5 years | 4 - 20 mA HART 7 | Panel mounting | Three-way | Alloy C-276 | 1/2-14 NPTm | 1/2-14 NPTm
Plated CS | 7 years | FOUNDATION fieldbus |  | Four-way | Alloy 400 | Flange | Flange
| 10 years | PROFIBUS PA |  | Five-way
Wireless
low power 1 - 5 Vdc HART
Other options | Approvals | Humidity | Corrosivity | Enclosure material | Ingress protection | Cable gland entry | Seal type
N/A | A | condensing | C1 (very low) | Aluminum polyurethane coated | IP43 | 1/2-14 NPT | N/A
Integral indicator | B | noncondensing | C2 (low) | Stainless steel | IP53 | M20 x 1.5 | Diaphragm screwed
Transient protection | C |  | C3 (medium) | Polymer | IP54 | G 1/2 | Diaphragm flanged
NAMUR high alarm fail mode | D |  | C4 (high) |  | IP55 |  | Diaphragm + extended flange
NAMUR low alarm fail mode | E |  | C5-I (industrial) |  | IP56 |  | Flanged + extended diaphragm
Wired TAG plate | F |  | C5-M (marine) |  | IP65 |  | Diaphragm cell type
| G |  |  |  | IP66 |  | Diaphragm clamped
| H |  |  |  | IP67 |  | Diaphragm in-line
| I |  |  |  | IP68
NEMA 3
NEMA 4X
Seal mounting 1 | Seal mounting 2 | Diaphragm extension length | Seal wetted parts | Seal upper material | Seal flange material | Capillary ID | Capillary material
N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
Direct | Flush | 50 mm | SS 316L | SS 316L | CS | 0,7 mm | SS 316L
Remote | Non-flush | 100 mm | SS 316L lined with HALAR | Brass | SS 304 | 1,1 mm | Hastelloy C-276
| Tongue | 150 mm | Hastelloy B2 | Polypropylene | SS 316 | 1,9 mm
| In pipe |  | Hastelloy C-276 | PVC | Hastelloy C-276 | 0,03 inch
|  |  | Hastelloy C4 | PVDF | Monel | 0,04 inch
|  |  | Monel 400 |  |  | 0,075 inch
Tantalum
Titanium
Uranus B6
Gold-plated Monel 400
Gold-plated SS 316
Silver
EPDM lined with PTFE
Capillary armor | Fill fluid | Options
N/A | N/A | A
Stainless Steel | Silicone 200 | B
Stainless Steel + PVC coating | Silicone 200 for vacuum | C
Reinforced stainless steel | Silicone 704 | D
| Silicone 704 for vacuum | E
Silicone 705
Silicone 705 for vacuum
Syltherm XLT
Inert (Halocarbon)
Glycerin and water
Neobee M-20
Propylene glycol and water
Ultra Therm 805
Ultra Therm 805 for vacuum